## Slide 1: Data-driven Modeling of Intracardiac Electrograms
Kuk Jin Jang
with
Houssam Abbas(1), Zhihao Jiang(1), Jackson Liang(2), Rahul Mangharam(1)
(1) School of Engineering and Applied Sciences, University of Pennsylvania
(2) Hospital of the University of Pennsylvania
Notes: The case for generative models in testing of
medical cyber physical systems

## Slide 2: Implantable Cardioverter Defibrillator (ICD) Operation
VT Duration
V rate>A rate
by at least 10bpm
VTC
Correlated
A-fib Rate=TRUE
& V rate unstable
VT
SVT
Yes
Yes
Yes
No
No
No
RhythmID
Initial Detection
VF Duration
Last 10 Ventricular intervals
8/10 intervals faster
than VT threshold
8/10 intervals faster
than VF threshold
VT
Yes
Yes
No
No
Sensing:
Measure physiological state
Discrimination:
Determine physiological state
Therapy:
Apply therapy to patient

## Slide 3: Discrimination (Classification) Accuracy is important to evaluating ICD performance
VT Duration
V rate>A rate
by at least 10bpm
VTC
Correlated
A-fib Rate=TRUE
& V rate unstable
VT
SVT
Yes
Yes
Yes
No
No
No
RhythmID
Initial Detection
VF Duration
Last 10 Ventricular intervals
8/10 intervals faster
than VT threshold
8/10 intervals faster
than VF threshold
VT
Yes
Yes
No
No
Sensing:
Measure physiological state
Therapy:
Apply therapy to patient
Discrimination:
Determine physiological state

## Slide 4: Data availability presents a challenge for evaluation of discrimination algorithms
Limited availability of data
  Data – electrogram episodes of various conditions
Available data is incomplete
  Episode label is missing
  Episode is too short

## Slide 5: Example: Incomplete data
The EGM episode ends before the discrimination algorithm can output decision
Algorithm is aware of VT condition

## Slide 6: Our approach: Data-driven models  generative models
Learn a generative model from set of electrograms
  Generative model learns an empirical distribution that can be sampled
Subsequently, Generative model is sampled to produce new electrograms
  New electrograms are similar to original set
  Satisfy requirements for use in discrimination algorithm evaluation

## Slide 7: EGM Modeling with Long Short-term Memory (LSTM) Networks
Neural Nets
RNNs
Output determined by current timestep only
Output determined by current timestep &
Previous state

## Slide 8: LSTM Network
Long short-term memory (LSTM) Networks are an extension of RNNs to allow for modeling of long term dependencies
RNN
LSTM
(Diagram from Colah, “Understanding LSTM Networks”, 2015 )
‘Forget’ gate
‘Input’ gate
‘Output’ gate
Cell state vector

## Slide 9: LSTM Network Architecture

## Slide 10: LSTM Network Architecture - Advantages
Relations between channels is implicitly modeled through the network.
Channel output easily extended
Ease of multi-dimensional input

## Slide 11: Training setup

## Slide 12: EGM Generation

## Slide 13: Initial Results
Modeling of VT
Modeling of SVT

## Slide 14: Previous attempt…

## Slide 15: Initial Results: Limitation of RNN
RNNs are unable to cover long term dependencies:

## Slide 16: Initial Results
Multi-channel modeling of NSR

## Slide 17: Initial Results
NSR with occasional premature ventricular contraction (PVC)

## Slide 18: Next steps: From LSTM Networks to Generative Models
Generative Adversarial Networks – Supervised learning to learn the distribution of a given dataset
Classifier determines whether generated example is from data distribution
Generative model attempts to generate examples which fool the classifier

## Slide 19: Next steps: From LSTM Networks to Generative Models
Evaluation of discrimination algorithm

## Slide 20: Conclusion
Generative models provide a potential solution for limitations in data for evaluation of ICD discrimination algorithms
LSTM networks are effective at modeling intracardiac electrograms.
Future: GAN framework combined with LSTM networks to develop a generative model of electrograms.

## Slide 21: Extra Slides

## Slide 22: Initial Results: Limitation of RNN
RNNs are unable to cover long term dependencies:

## Slide 23: LSTM Network Walkthrough